FACILITY SURVEY FORM

Building Name: __________________________________ Day/Date: _________________________

Principal/Administrator: ___________________________ Time: _____________________________

Describe Weather: ___________________________________________ Outside Temperature: _____

Auditor's Name: _________________________________

|  |  |  |  | YES | NO | NA | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Heating and Cooling: 1) Building Temperatures are consistent with guidelines. | Occupied? | Temp. | Guide- Line* |  |  |  |  |
| Hallway | Y N | ___(F | ___(F |  |  |  |  |
| Office | Y N | ___(F | ___(F |  |  |  |  |
| Gymnasium | Y N | ___(F | ___(F |  |  |  |  |
| Library | Y N | ___(F | ___(F |  |  |  |  |
| Classroom | Y N | ___(F | ___(F |  |  |  |  |
| Other:________________ | Y N | ___(F | ___(F |  |  |  |  |
| 2) Blinds and curtains closed after hours. |  |  |  |  |
| 3) Exterior doors closed when heating or cooling system is on. |  |  |  |  |
| 4) Windows closed when heating or cooling system is on. |  |  |  |  |
| 5) Caulking and weatherstripping in good repair. |  |  |  |  |
| 6) Heating equipment and fans OFF after hours (setback): |  |  |  |  |
| 7) Portable classroom heating OFF after hours (setback). |  |  |  |  |
| 8) Other: |  |  |  |  |
| Lighting is OFF in unoccupied areas: |  |  |  |  |
| 8) Classrooms |  |  |  |  |
| 9) Library |  |  |  |  |
| 10) Hallways |  |  |  |  |
| 11) Restrooms |  |  |  |  |
| 12) Gymnasium |  |  |  |  |
| 13) Auditorium |  |  |  |  |
| 14) Offices |  |  |  |  |
| 15) Teachers Lounge |  |  |  |  |
| 16) Cafeteria/Lunchroom |  |  |  |  |
| 17) Kitchen |  |  |  |  |
| 18) Exterior lighting OFF, during daylight hours. |  |  |  |  |
| 19) Other: |  |  |  |  |
| Miscellaneous: |  |  |  |  |
| 20) Office equipment OFF after hours. |  |  |  |  |
| 21) Computers and printers OFF after hours. |  |  |  |  |
| 22) Exhaust fans OFF as appropriate (restrooms, shops, etc). |  |  |  |  |
| 23) Kiln OFF at peak hours of electrical demand. |  |  |  |  |
| 24) Kitchen Equipment limited during peak times. |  |  |  |  |
| 25) Plumbing fixtures are in good repair. |  |  |  |  |
| 26) Irrigation OFF as appropriate. |  |  |  |  |
| 27) Irrigation system is NOT leaking. |  |  |  |  |
| 28) Garbage bin contains no recyclable materials. |  |  |  |  |
| 29) Recycle bins are used. |  |  |  |  |
| 30) Cooling tower off, as appropriate. |  |  |  |  |
| 31) Other: |  |  |  |  |

*Guideline is the temperature setting established for occupied and unoccupied times.  Input the temperature appropriate for the time of the survey.

Copies sent to: ______________________________________________________________________________________

FACILITY SURVEY FORM continued

Building Name: ____________________________________ Date: ____________________________

| Boiler EMCS/Timeclock | Monday - Friday | Start: | Stop: |
| --- | --- | --- | --- |
| Settings: | Saturday | Start: | Stop: |
|  | Sunday | Start: | Stop: |
|  | Holidays | Start: | Stop: |
| EMCS/Timeclock |  |  | Settings |  |  | Settings |  |
| Space Settings: |  |  | Time: | Temp.: |  | Time: | Temp.: |
| Space Name: | Monday - Friday | Occupied: |  |  | Unoccupied: |  |  |
| __________________ | Saturday | Occupied: |  |  | Unoccupied: |  |  |
|  | Sunday | Occupied: |  |  | Unoccupied: |  |  |
|  | Holidays | Occupied: |  |  | Unoccupied: |  |  |
|  |  |  | Settings |  |  | Settings |  |
|  |  |  | Time: | Temp.: |  | Time: | Temp.: |
| Space Name: | Monday - Friday | Occupied: |  |  | Unoccupied: |  |  |
| __________________ | Saturday | Occupied: |  |  | Unoccupied: |  |  |
|  | Sunday | Occupied: |  |  | Unoccupied: |  |  |
|  | Holidays | Occupied: |  |  | Unoccupied: |  |  |
|  |  |  | Settings |  |  | Settings |  |
|  |  |  | Time: | Temp.: |  | Time: | Temp.: |
| Space Name: | Monday - Friday | Occupied: |  |  | Unoccupied: |  |  |
| __________________ | Saturday | Occupied: |  |  | Unoccupied: |  |  |
|  | Sunday | Occupied: |  |  | Unoccupied: |  |  |
|  | Holidays | Occupied: |  |  | Unoccupied: |  |  |
|  |  |  | Settings |  |  | Settings |  |
|  |  |  | Time: | Temp.: |  | Time: | Temp.: |
| Space Name: | Monday - Friday | Occupied: |  |  | Unoccupied: |  |  |
| __________________ | Saturday | Occupied: |  |  | Unoccupied: |  |  |
|  | Sunday | Occupied: |  |  | Unoccupied: |  |  |
|  | Holidays | Occupied: |  |  | Unoccupied: |  |  |
|  |  |  | Settings |  |  | Settings |  |
|  |  |  | Time: | Temp.: |  | Time: | Temp.: |
| Space Name: | Monday - Friday | Occupied: |  |  | Unoccupied: |  |  |
| __________________ | Saturday | Occupied: |  |  | Unoccupied: |  |  |
|  | Sunday | Occupied: |  |  | Unoccupied: |  |  |
|  | Holidays | Occupied: |  |  | Unoccupied: |  |  |
|  |  |  | Settings |  |  | Settings |  |
|  |  |  | Time: | Temp.: |  | Time: | Temp.: |
| Space Name: | Monday - Friday | Occupied: |  |  | Unoccupied: |  |  |
| __________________ | Saturday | Occupied: |  |  | Unoccupied: |  |  |
|  | Sunday | Occupied: |  |  | Unoccupied: |  |  |
|  | Holidays | Occupied: |  |  | Unoccupied: |  |  |
|  |  |  | Settings |  |  | Settings |  |
|  |  |  | Time: | Temp.: |  | Time: | Temp.: |
| Space Name: | Monday - Friday | Occupied: |  |  | Unoccupied: |  |  |
| __________________ | Saturday | Occupied: |  |  | Unoccupied: |  |  |
|  | Sunday | Occupied: |  |  | Unoccupied: |  |  |
|  | Holidays | Occupied: |  |  | Unoccupied: |  |  |
|  |  |  | Settings |  |  | Settings |  |
|  |  |  | Time: | Temp.: |  | Time: | Temp.: |
| Space Name: | Monday - Friday | Occupied: |  |  | Unoccupied: |  |  |
| __________________ | Saturday | Occupied: |  |  | Unoccupied: |  |  |
|  | Sunday | Occupied: |  |  | Unoccupied: |  |  |
|  | Holidays | Occupied: |  |  | Unoccupied: |  |  |

FACILITY SURVEY FORM continued

Building Name: ____________________________________ Date: ____________________________

| Meters: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Water: | Units (CF, Gal): | ______________ |  |  |
| Meter #: | First Reading: |  | 1st Reading Time: |  |
| _____________________ | Second Reading: |  | 2nd Reading Time: |  |
|  | Amount of Usage: |  | Length of Time: |  |
| Meter #: | First Reading: |  | 1st Reading Time: |  |
| _____________________ | Second Reading: |  | 2nd Reading Time: |  |
|  | Amount of Usage: |  | Length of Time: |  |
| Meter #: | First Reading: |  | 1st Reading Time: |  |
| _____________________ | Second Reading: |  | 2nd Reading Time: |  |
|  | Amount of Usage: |  | Length of Time: |  |
| Meter #: | First Reading: |  | 1st Reading Time: |  |
| _____________________ | Second Reading: |  | 2nd Reading Time: |  |
|  | Amount of Usage: |  | Length of Time: |  |
| Meter #: | First Reading: |  | 1st Reading Time: |  |
| _____________________ | Second Reading: |  | 2nd Reading Time: |  |
|  | Amount of Usage: |  | Length of Time: |  |
| Meter #: | First Reading: |  | 1st Reading Time: |  |
| _____________________ | Second Reading: |  | 2nd Reading Time: |  |
|  | Amount of Usage: |  | Length of Time: |  |
| Electricity: |  | kWh: |  |  |
| Meter #: | First Reading: |  | 1st Reading Time: |  |
| _____________________ | Second Reading: |  | 2nd Reading Time: |  |
|  | Amount of Usage: |  | Length of Time: |  |
|  |  | kW |  |  |
|  | Current Reading: |  | Time: |  |
| Electricity: |  | kWh: |  |  |
| Meter #: | First Reading: |  | 1st Reading Time: |  |
| _____________________ | Second Reading: |  | 2nd Reading Time: |  |
|  | Amount of Usage: |  | Length of Time: |  |
|  |  | kW |  |  |
|  | Current Reading: |  | Time: |  |
| Electricity: |  | kWh: |  |  |
| Meter #: | First Reading: |  | 1st Reading Time: |  |
| _____________________ | Second Reading: |  | 2nd Reading Time: |  |
|  | Amount of Usage: |  | Length of Time: |  |
|  |  | kW |  |  |
|  | Current Reading: |  | Time: |  |
| Electricity: |  | kWh: |  |  |
| Meter #: | First Reading: |  | 1st Reading Time: |  |
| _____________________ | Second Reading: |  | 2nd Reading Time: |  |
|  | Amount of Usage: |  | Length of Time: |  |
|  |  | kW |  |  |
|  | Current Reading: |  | Time: |  |
| Gas: | Units (Therms, CF): | _____________ |  |  |
| Meter #: | First Reading: |  | 1st Reading Time: |  |
| _____________________ | Second Reading: |  | 2nd Reading Time: |  |
|  | Amount of Usage: |  | Length of Time: |  |
| Gas: | Units (Therms, CF): | _____________ |  |  |
| Meter #: | First Reading: |  | 1st Reading Time: |  |
| _____________________ | Second Reading: |  | 2nd Reading Time: |  |
|  | Amount of Usage: |  | Length of Time: |  |